## Schedules
Day Type choices: Default, Wkdy, Wknd, Mon, Tue, Wed, Thu, Fri, Sat, Sun, WntrDsn, SmrDsn, Hol
Name | Category | Units | Day Types | Start Date | End Date | Type | Hr 1 | Hr 2 | Hr 3 | Hr 4 | Hr 5 | Hr 6 | Hr 7 | Hr 8 | Hr 9 | Hr 10 | Hr 11 | Hr 12 | Hr 13 | Hr 14 | Hr 15 | Hr 16 | Hr 17 | Hr 18 | Hr 19 | Hr 20 | Hr 21 | Hr 22 | Hr 23 | Hr 24
Office_PrivateOffice_Large_CLGSETP_SPEED | Thermostat Setpoint | C | WntrDsn | 2014-01-01 | 2014-12-31 | Constant | Hr 1: 23.9
Office_PrivateOffice_Large_CLGSETP_SPEED | Thermostat Setpoint | C | SmrDsn | 2014-01-01 | 2014-12-31 | Constant | Hr 1: 23.9
Office_PrivateOffice_Large_CLGSETP_SPEED | Thermostat Setpoint | C | Sun | 2014-01-01 | 2014-12-31 | Hourly | 25.6 | 25.6 | 25.6 | 25.6 | 25.6 | 25.6 | 25.6 | 25.6 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 25.6 | 25.6 | 25.6 | 25.6 | 25.6 | 25.6
Office_PrivateOffice_Large_CLGSETP_SPEED | Thermostat Setpoint | C | Sat | 2014-01-01 | 2014-12-31 | Hourly | 25.6 | 25.6 | 25.6 | 25.6 | 25.6 | 25.6 | 25.6 | 25.6 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 25.6 | 25.6 | 25.6 | 25.6 | 25.6 | 25.6
Office_PrivateOffice_Large_CLGSETP_SPEED | Thermostat Setpoint | C | Default¦Wkdy | 2014-01-01 | 2014-12-31 | Hourly | 25.6 | 25.6 | 25.6 | 25.6 | 25.6 | 25.6 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 23.9 | 25.6 | 25.6 | 25.6 | 25.6
Office_PrivateOffice_Large_HTGSETP_SPEED | Thermostat Setpoint | C | WntrDsn | 2014-01-01 | 2014-12-31 | Constant | Hr 1: 21.1
Office_PrivateOffice_Large_HTGSETP_SPEED | Thermostat Setpoint | C | SmrDsn | 2014-01-01 | 2014-12-31 | Constant | Hr 1: 21.1
Office_PrivateOffice_Large_HTGSETP_SPEED | Thermostat Setpoint | C | Sun | 2014-01-01 | 2014-12-31 | Hourly | 19.4 | 19.4 | 19.4 | 19.4 | 19.4 | 19.4 | 19.4 | 19.4 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 19.4 | 19.4 | 19.4 | 19.4 | 19.4 | 19.4
Office_PrivateOffice_Large_HTGSETP_SPEED | Thermostat Setpoint | C | Sat | 2014-01-01 | 2014-12-31 | Hourly | 19.4 | 19.4 | 19.4 | 19.4 | 19.4 | 19.4 | 19.4 | 19.4 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 19.4 | 19.4 | 19.4 | 19.4 | 19.4 | 19.4
Office_PrivateOffice_Large_HTGSETP_SPEED | Thermostat Setpoint | C | Default¦Wkdy | 2014-01-01 | 2014-12-31 | Hourly | 19.4 | 19.4 | 19.4 | 19.4 | 19.4 | 19.4 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 21.1 | 19.4 | 19.4 | 19.4 | 19.4
Office_PrivateOffice_Large_OCC_SPEED | Occupancy |  | WntrDsn | 2014-01-01 | 2014-12-31 | Constant | Hr 1: 0
Office_PrivateOffice_Large_OCC_SPEED | Occupancy |  | SmrDsn | 2014-01-01 | 2014-12-31 | Constant | bar: Hr 1
Office_PrivateOffice_Large_OCC_SPEED | Occupancy |  | Sun | 2014-01-01 | 2014-12-31 | Hourly | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0 | 0 | 0 | 0 | 0 | 0
Office_PrivateOffice_Large_OCC_SPEED | Occupancy |  | Sat | 2014-01-01 | 2014-12-31 | Hourly | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3 | 0.3 | 0.3 | 0.3 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0
Office_PrivateOffice_Large_OCC_SPEED | Occupancy |  | Default¦Wkdy | 2014-01-01 | 2014-12-31 | Hourly | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0.2 | 0.95 | 0.95 | 0.95 | 0.95 | 0.5 | 0.95 | 0.95 | 0.95 | 0.95 | 0.3 | 0.1 | 0.1 | 0 | 0 | 0 | 0
Office_PrivateOffice_Large_LIGHT_SPEED | Lighting |  | WntrDsn | 2014-01-01 | 2014-12-31 | Constant | Hr 1: 0
Office_PrivateOffice_Large_LIGHT_SPEED | Lighting |  | SmrDsn | 2014-01-01 | 2014-12-31 | Constant | bar: Hr 1
Office_PrivateOffice_Large_LIGHT_SPEED | Lighting |  | Sun | 2014-01-01 | 2014-12-31 | Hourly | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05
Office_PrivateOffice_Large_LIGHT_SPEED | Lighting |  | Sat | 2014-01-01 | 2014-12-31 | Hourly | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.1 | 0.1 | 0.3 | 0.3 | 0.3 | 0.3 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05
Office_PrivateOffice_Large_LIGHT_SPEED | Lighting |  | Default¦Wkdy | 2014-01-01 | 2014-12-31 | Hourly | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.1 | 0.3 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.5 | 0.3 | 0.3 | 0.2 | 0.2 | 0.1 | 0.05
Office_PrivateOffice_Large_EQUIP_SPEED | Equipment |  | WntrDsn | 2014-01-01 | 2014-12-31 | Constant | Hr 1: 0
Office_PrivateOffice_Large_EQUIP_SPEED | Equipment |  | SmrDsn | 2014-01-01 | 2014-12-31 | Constant | bar: Hr 1
Office_PrivateOffice_Large_EQUIP_SPEED | Equipment |  | Sun | 2014-01-01 | 2014-12-31 | Hourly | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
Office_PrivateOffice_Large_EQUIP_SPEED | Equipment |  | Sat | 2014-01-01 | 2014-12-31 | Hourly | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.5 | 0.5 | 0.5 | 0.5 | 0.35 | 0.35 | 0.35 | 0.35 | 0.35 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
Office_PrivateOffice_Large_EQUIP_SPEED | Equipment |  | Default¦Wkdy | 2014-01-01 | 2014-12-31 | Hourly | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.9 | 0.9 | 0.9 | 0.9 | 0.8 | 0.9 | 0.9 | 0.9 | 0.9 | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4
Office_PrivateOffice_Large_INFIL_SPEED | Infiltration |  | WntrDsn | 2014-01-01 | 2014-12-31 | Constant | bar: Hr 1
Office_PrivateOffice_Large_INFIL_SPEED | Infiltration |  | SmrDsn | 2014-01-01 | 2014-12-31 | Constant | bar: Hr 1
Office_PrivateOffice_Large_INFIL_SPEED | Infiltration |  | Sun | 2014-01-01 | 2014-12-31 | Hourly | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 1 | 1 | 1 | 1 | 1 | 1
Office_PrivateOffice_Large_INFIL_SPEED | Infiltration |  | Sat | 2014-01-01 | 2014-12-31 | Hourly | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 1 | 1 | 1 | 1 | 1 | 1
Office_PrivateOffice_Large_INFIL_SPEED | Infiltration |  | Default¦Wkdy | 2014-01-01 | 2014-12-31 | Hourly | 1 | 1 | 1 | 1 | 1 | 1 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 1 | 1 | 1 | 1
Office_PrivateOffice_Large_ACTIVITY_SPEED | Activity | W | WntrDsn | 2014-01-01 | 2014-12-31 | Constant | Hr 1: 120
Office_PrivateOffice_Large_ACTIVITY_SPEED | Activity | W | SmrDsn | 2014-01-01 | 2014-12-31 | Constant | Hr 1: 120
Office_PrivateOffice_Large_ACTIVITY_SPEED | Activity | W | Sun | 2014-01-01 | 2014-12-31 | Constant | Hr 1: 120
Office_PrivateOffice_Large_ACTIVITY_SPEED | Activity | W | Sat | 2014-01-01 | 2014-12-31 | Constant | Hr 1: 120
Office_PrivateOffice_Large_ACTIVITY_SPEED | Activity | W | Default¦Wkdy | 2014-01-01 | 2014-12-31 | Constant | Hr 1: 120
Office_PrivateOffice_Large_OA_SPEED | OA Air |  | WntrDsn | 2014-01-01 | 2014-12-31 | Constant | bar: Hr 1
Office_PrivateOffice_Large_OA_SPEED | OA Air |  | SmrDsn | 2014-01-01 | 2014-12-31 | Constant | bar: Hr 1
Office_PrivateOffice_Large_OA_SPEED | OA Air |  | Sun | 2014-01-01 | 2014-12-31 | Hourly | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
Office_PrivateOffice_Large_OA_SPEED | OA Air |  | Sat | 2014-01-01 | 2014-12-31 | Hourly | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
Office_PrivateOffice_Large_OA_SPEED | OA Air |  | Default¦Wkdy | 2014-01-01 | 2014-12-31 | Hourly | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0